| DRAFT TEMPLATE Company Name: Address: City/State: Zip Code: | Phone: Fax: E-mail: |
| --- | --- |

Stormwater Management Plan

for CDPS General Permit COR900000

COLORADO AUTOMOTIVE RECYCLING

This document was created by the Colorado Auto Recyclers Association with conjunction with the Colorado Department of Public Health and environment and is for the strict use for Colorado Auto Recyclers Association Members

Date: _____________________

\

Table of Contents

1. INTRODUCTION	1

2. SWMP COORDINATOR AND TEAM DUTIES	1

3. FACILITY DESCRIPTION	3

4.	ASSESSMENT OF POLLUTANT SOURCES	5

4.1	Potential Pollutant Sources	5

4.2	Spill and Leak Record	5

4.3	Summary of Available Stormwater Sampling Data	8

5.  STORMWATER MANAGEMENT CONTROL MEASURES	8

5.1	Identify Stormwater Management Control Measures	8

Identify Stormwater Management Control Measures	9

5.2	Good Housekeeping Practices	19

5.3	Spill Prevention and Response	19

5.4	Maintenance of Control Measures	22

5.5	Corrective Action	22

5.6	Employee Training	23

6.	INSPECTIONS	24

7.	MONITORING	25

7.1	General Requirements	25

7.2	Summary of Required Monitoring (Sampling)	26

7.3	Visual Monitoring - Details	26

7.4	Benchmark Monitoring - Details	27

7.5	Water Quality Standards Monitoring (Impaired Waters) - Details	28

7.6	Additional Monitoring	28

7.7	Sampling and Analytical Requirements	29

8.	RECORDKEEPING AND REPORTING REQUIREMENTS	29

8.1	Routine Reporting –DMR	29

8.2	Corrective Action Reporting	30

8.3	Notifications	30

8.4	Annual Report	31

8.5	Record Retention	31

9.	PROVISIONS FOR AMENDMENT OF THE PLAN	31

10.	CORPORATE CERTIFICATION	32

APPENDIX A - AREA & SITE MAPS

APPENDIX B - TRAINING & INSPECTION CHECKLIST AND LOGS

APPENDIX C - BENCHMARK MONITORING & SAMPLING LOCATIONS

This template constitutes the Stormwater Management Plan (SWMP) for the facility, when completed and signed by the owner or operator of a facility that meets the applicability criteria in the Colorado Department of Public Health and Environment, Water Quality Control Division (WQCD) CDPHE General Permit COR900000.  This template addresses the requirements of the General Permit and includes information specific to this facility.  A complete copy will be maintained at the facility  and not necessary to file a copy to COPHE.

Facility Information:

| Facility Name |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility Address |  |  |  |  |  |  |
| City |  | State |  | ZIP |  |  |
| County |  | Tel. Number | ( ) - |  |  |  |
| Owner or Operator Name |  |  |  |  |  |  |
| Owner or Operator Address |  |  |  |  |  |  |
| City |  | State |  | ZIP |  |  |
| County |  | Tel. Number | ( ) - |  |  |  |

Self-Certification Statement:

The owner or operator of a facility certifies that each of the following is true in order to utilize this template to comply with the SPCC requirements:

| I |  | certify that the following is accurate: |
| --- | --- | --- |

- I am familiar with the applicable requirements of the CDPS General Permit COR900000.

- I have visited and examined the facility;

- This plan was prepared in accordance with accepted and sound industry practices and standards;

- Procedures for required inspections and testing have been established in accordance with the requirements outlined in the General Permit;

- I will fully implement the Plan;

- This Plan and individual(s) responsible for implementing this Plan have the full approval of management and I have committed the necessary resources to fully implement this Plan.

- Amendments to the plan will be documented as outlined in this SWMP.

# INTRODUCTION

Development, implementation, and maintenance of this Storm Water Management Plan (SWMP) will provide (Company Name): ________________________________________ with the tools to reduce pollutants contained in storm water discharges and comply with the requirements of the Storm Water Permit issued by the State of Colorado Water Quality Control Division. The primary goals of the SWMP will be to:

- Identify potential sources of pollutants that affect storm water discharges from the site and minimize the exposure of pollutant sources associated with site activities to rain, snow, snowmelt and runoff.

- Describe the control measures that will be implemented to prevent or control the release of pollutants in storm water discharges;

- Create a inspection & monitoring schedule to ensure that the control measures described in this SWMP are in fact implemented;

- Evaluate the plan’s effectiveness in reducing the pollutant levels in storm water discharge; and

- Revise the plan when modifications are required to meet these goals.

# SWMP COORDINATOR AND TEAM DUTIES

2.1	  The SWMP Coordinator for the facility is:

| NAME: |  |
| --- | --- |
| TELEPHONE: |  |

  - The SWMP Coordinator’s duties include the following:

- Oversee maintenance practices identified as Control Measures in the SWMP;

- Assign maintenance duties to the SWMP Management Team;

- Implement and oversee employee training;

- Conduct or provide for inspection, monitoring and/or sampling activities;

- Identify other potential pollutant sources and make sure they are added to the plan when necessary;

- Identify any deficiencies in the SWMP and make sure they are corrected;

- Prepare and submit reports; and

- Ensure that any changes in facility operation are addressed in the SWMP.

2.3	SWMP Management Team Member(s): (if applicable)

| NAME: |  |
| --- | --- |
| TELEPHONE: |  |
| NAME: |  |
| TELEPHONE: |  |
| NAME: |  |
| TELEPHONE: |  |
| NAME: |  |
| TELEPHONE: |  |

2.4	The SWMP Team duties include the following:

- Conduct or provide for inspection, monitoring, sampling and reporting activities as assigned by the SWMP Coordinator;

- Assist the SWMP Coordinator in identifying other potential pollutant sources and ensuring they are added to the SWMP;

- Assist the SWMP Coordinator in maintaining SWMP Control Measures and implementing new ones as necessary;

- Assist the SWMP Coordinator in employee trainee activities;

- Assist the SWMP Coordinator in identifying any deficiencies and documentation of actions to correct deficiencies;

- Ensure that changes in facility operation are addressed in the SWMP.

# FACILITY DESCRIPTION

3.1	Description of Primary Activities:

Place an “X” to the left of the primary activity(s) that are applicable to your facility and list other activities with applicable SIC code as needed,.

|  | DESCRIPTION | SIC | SECTOR |
| --- | --- | --- | --- |
| X | Automobile Salvage Yards (dismantling to sell parts) | 5015 | M |

3.2	Description of All Activities:

Place an “X” in the box to the left of the Description that best describes “Activities” (A) at your facility.

| A | DESCRIPTION |  | A | DESCRIPTION |
| --- | --- | --- | --- | --- |
|  | Vehicle/Equipment Storage |  |  | Materials Recovery & Storage: |
|  | Vehicle Dismantling |  |  | Vehicle Fluids |
|  | Used Parts Storage |  |  | Batteries |
|  | Vehicle Maintenance/Repair |  |  | Mercury Switches |
|  | Vehicle/Equipment Washing |  |  | Scrap Tires |
|  | Fueling area (tanks) |  |  | Other (describe): |
|  | Vehicle Crushing |  |  |  |
|  | Self Service (Public pulls parts) |  |  |  |

3.3	Additional Information:

| Total size of the facility property in acres: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Regular Hours of Operation: |  | a.m. |  |  | p.m. |

3.4	Site Description

(Provide a narrative of the general layout of the facility including buildings, storage yard, flow of raw materials and flow of goods and materials through the facility). Refer to Detailed Site Map (Appendix A).

3.5	Description of Stormwater Drainage System

Describe the points where runoff collects and leaves the site, flow direction, basins, nearby water bodies, areas exposed to precipitation or surface runoff, etc.). Refer to Detailed Site Map (Appendix A).

# 4.	ASSESSMENT OF POLLUTANT SOURCES

This section identifies potential areas that could be exposed to stormwater.  The detailed site map in Appendix A (Figure 3) identifies areas exposed to precipitation or surface runoff (e.g., dismantling areas, parts storage areas) by discharge area (DA).  This section also includes the spill and leak records, documentation of any unauthorized non-stormwater discharges and availability of stormwater sampling data.

## 4.1	Potential Pollutant Sources

- Refer to Table 2.  Identify potential pollutant sources.  Indicate the drainage area (DA) and describe the source of pollutants.

- For each industrial activity described, document the associated pollutants (significant materials) that have been handled, treated, stored or disposed to include the 3 years prior to the date this SWMP was prepared or amended.  This includes pollutants that will be used during the life of the permit.

- Indicate the potential (P) of a pollutant or pollutants to be present in stormwater discharge using the measure of “Low”, “Medium” or “High”.

- Include any storage piles containing salt, including piles that only contain salt as a portion of the mixture in the pile, used for deicing or other commercial or industrial purposes.

## 4.2	Spill and Leak Record

- List any significant spills and/or leaks (e.g., oils or hazardous substances) that have occurred in the (3) years prior to the date this SWMP was developed or amended.

- Include spills or leaks attributable to past owners/operators, if known.

- A Spill and Leak Record is available in Appendix B of this SWMP.

- If there are/have been no significant spills and/or leaks, record of such will be indicated on the Spill and Leak Record.

IDENTIFY POTENTIAL POLLUTANT SOURCES (as applicable to facility)

Place a “√” in the box(es) to the left of the Discharge Area (DA) that best describes the pollutant sources and significant materials used at your facility.  For each that applies, describe the potential (P) for exposure to stormwater (Low, Medium or High).  Modify these as necessary to best describe potential pollutant sources at your facility.  Do not include activities that only take place indoors.

TABLE 2

| “√” | DA1 | Area (DA) | Pollutant Source | Significant Materials | P2 |
| --- | --- | --- | --- | --- | --- |
|  | DA-1 | Vehicle/Equipment Storage Area | Fluid leaks and spills from vehicles. | Oil, grease, brake fluid, gasoline, diesel, antifreeze, solids, battery acid from damaged batteries. |  |
|  | DA-2 | Vehicle Dismantling | Fluid leaks and spills from vehicles | Oil, grease, heavy metals from vehicle parts, brake fluid, gasoline, diesel, antifreeze |  |
|  | DA-3 | Used Parts Storage | Vehicle parts (engines, radiators, hub caps, doors, mufflers, body panels, tires, rims, batteries, etc. ), fluids leaks and spills from vehicle parts | Solids, iron oxide (rust), oil & grease, heavy metals, gasoline, diesel, antifreeze |  |
|  | DA-4 | Vehicle Maintenance & Repair | Fluid leaks and spills from vehicle transfer & disposal, parts cleaning | Oil, grease, brake fluid, transmission fluid, radiator fluid, gasoline, diesel, antifreeze, contaminated rags/wipes |  |

1DA = Discharge Area, identify above by number and description.

2P = Potential for exposure to stormwater, describe as “Low”, “Medium” or “High” Potential.

IDENTIFY POTENTIAL POLLUTANT SOURCES (as applicable to facility)

TABLE 2 (continued)

| “√” | DA | Area | Pollutant Source | Significant Materials | P |
| --- | --- | --- | --- | --- | --- |
|  | DA-5 | Vehicle & Equipment Washing | Wastewater recovered from washing & steam cleaning | Oil, grease, fluids, fuel-contaminated waters |  |
|  | DA-6 | Fueling Area | Fluid leaks and spills from fueling operations | Gasoline, diesel, |  |
|  | DA-7 | Vehicle Crushing | Fluid leaks and spills, from vehicles during crushing operations | Oil, grease, brake fluid, transmission fluid, radiator fluid, gasoline, diesel, antifreeze |  |
|  | DA-8 | Self-Service Facility (public pulls parts) | Fluid leaks and spills from vehicles and vehicle parts | Oil, grease, brake fluid, transmission fluid, radiator fluid, gasoline, diesel, antifreeze |  |
|  | DA-9 | Materials and fluids removal & Storage | Fluid leaks and spills from recovering and storage of vehicle fluids | Oil, grease, brake fluid, transmission fluid, , gasoline, diesel, antifreeze, CFCs, batteries and mercury switches |  |

## 4.3	Summary of Available Stormwater Sampling Data

A summary of any available stormwater discharge sampling data including the methods used to collect the data and the sample collection location must be described in this SWMP.  If Stormwater Sampling Data is available, check “Yes” below and maintain available analyses with this SWMP.  Checking “No” below indicates you have no available stormwater sampling data.  If you check, “No”, provide an explanation in the space provided below.

Have you collected any stormwater quality samples?      Yes ______   No ______

| Explanation: |  |
| --- | --- |

# 5.  STORMWATER MANAGEMENT CONTROL MEASURES

## 5.1	Identify Stormwater Management Control Measures

- This section (Refer to Table 3 below):

- Documents the location and description of control measures implemented in each discharge area (DA) at this facility to achieve each of the effluent limits outlined in the stormwater permit;

- Addresses stormwater run-on, if any, that commingles with discharges covered under this permit; and

- Includes a brief explanation of the measures implemented including selection and design considerations when applicable.

## Identify Stormwater Management Control Measures

Place a “√” in the box(es) next to the stormwater control measures implemented at this facility to minimize the potential for stormwater exposure to pollutant sources identified in Section 4.0.  Make changes or additions (using the blank spaces) as necessary.  These control measures must be those implemented at your facility to minimize stormwater impacts.

TABLE 3

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-1 | Vehicle & Equipment Storage Area |  |  | Vehicles arriving at the site will be drained of fluids upon arrival or as soon thereafter as feasible. |  |
|  |  |  |  | Prior to storage onsite, vehicles will be inspected for leaks. Leaks will be fixed or drip pans placed under any detected leaks to prevent the leak from impacting stormwater (on vehicles that are not drained of fluids upon entry). Leaks must be fixed and/or fluids and drip pans removed as soon possible. |  |
|  |  |  |  | Storage of vehicles, equipment and parts will be confined to designated areas. |  |
|  |  |  |  | Mercury switches and batteries and will be removed from vehicles upon arrival at the site (or as soon thereafter as feasible). |  |
|  |  |  |  | Absorbent socks will be placed on storm system inlets when necessary to prevent discharge into inlets. |  |
|  |  |  |  | Spills and/or leaks will be cleaned up immediately. Absorbent spill cleanup materials will be available,. |  |
|  |  |  |  | Containment such as curbs, dikes or berms will be utilized as necessary in this area for secondary containment to minimize contact with stormwater or run-off. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-2 | Vehicle Dismantling |  |  | In addition to the control measures utilized in DA-1 above (marked with a check), the following control measures will be utilized in this area. |  |
|  |  |  |  | Oil filters will be properly drained prior to disposal and disposed of properly. |  |
|  |  |  |  | Vehicle fluids will be promptly removed, segregated and transferred to appropriate containers that are labeled and in good condition. |  |
|  |  |  |  | Containers will be stored in such a way to ensure secondary containment to minimize spills or leaks. |  |
|  |  |  |  | Inspections will be conducted regularly to ensure control measures are being implemented (at least quarterly). |  |
|  |  |  |  | Employees will be trained on proper dismantling, transfer, storage and disposal procedures to minimize exposure to stormwater. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-3 | Used Parts Storage |  |  | In addition to control measures utilized (marked with a check) in DA-1 and DA-2 above, the following control measures will be utilized. |  |
|  |  |  |  | Whenever possible, motor vehicle parts (engine blocks, tires, hubcaps, batteries, hoods, mufflers, doors and other parts) will be stored in covered storage areas or containers and/or off of the ground. |  |
|  |  |  |  | Good housekeeping practices will be utilized to prevent accumulation of trash, particulates and fluids in the storage area(s). |  |
|  |  |  |  | Surface water runoff will be diverted (grading, berms) away from outside materials storage areas as required. |  |
|  |  |  |  | Vehicle fluids, batteries, mercury switches tires will be handled and stored as outlined in DA-9 in this SWMP. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-4 | Vehicle Maintenance & Repair |  |  | The vehicle maintenance area will be inspected regularly. Leaks will be fixed or drip pans placed under vehicles/parts to prevent the leak from impacting stormwater. |  |
|  |  |  |  | Oil filters will be drained prior to disposal and disposed of properly. |  |
|  |  |  |  | Vehicle fluids will be promptly removed, segregated and transferred to appropriate containers that are labeled and in good condition to eliminate the potential for spills and leaks. Full drip pans or other open containers will not be left around the shop area. |  |
|  |  |  |  | Good housekeeping practices will be utilized to prevent accumulation of trash, fluids and other debris in the storage area(s). |  |
|  |  |  |  | Contaminated (oil, grease, solvents) rags & wipes, air filters, batteries, spent coolant, degreasers and other materials will be disposed of properly to minimize the potential for exposure to stormwater. |  |
|  |  |  |  | Spills and/or leaks will be cleaned up immediately. Absorbent spill cleanup materials will be available in/near the immediate area. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-5 | Vehicle, Parts & Equipment Washing |  |  | A specific area will be designated for washing/cleaning activities to minimize the potential for exposure to stormwater. |  |
|  |  |  |  | The vehicle & Equipment Washing area will be inspected regularly to ensure control measures are being implemented and potential exposures to stormwater are minimized. |  |
|  |  |  |  | Phosphate-free, biodegradable and/or water-based cleaning systems will be utilized in lieu of solvent-based degreasers in any discharge area. |  |
|  |  |  |  | Wash water will not be allowed to discharge to the storm sewer system. |  |
|  |  |  |  | Drains connected to the storm sewer system will be disconnected or sealed off to prevent discharge to the storm sewer system. |  |
|  |  |  |  | Wash water will be collected and treated by an oil/water separator or its equivalent and collected residual fluids disposed of properly. |  |
|  |  |  |  | The oil/water separator (or its equivalent) will be properly maintained according to the manufacturer’s specifications and/or local, state or federal requirements as applicable. |  |
|  |  |  |  | Curbing, berms or dikes will be installed around outside cleaning areas to minimize the potential for exposure to stormwater run-on and/or runoff. Describe the type(s) of diversionary structures that are used below: |  |
|  |  |  |  | Spills and/or leaks that could impact stormwater will be cleaned up immediately. Absorbent spill cleanup materials will be available in/near the immediate area. |  |
|  |  |  |  | Employees will be trained on proper dismantling, transfer, storage and disposal procedures to minimize exposure to stormwater. |  |
| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| DA-6 | Fueling Area |  |  | Prevent soil erosion by providing a paved, graveled pad (or similar type of stable area) around the fuel dispensing area. |  |
|  |  |  |  | Cover the fueling area with a canopy, roof or awning to prevent precipitation from contacting the fuel dispensing area. |  |
|  |  |  |  | Direct runoff away from the fueling area. |  |
|  |  |  |  | The fueling area and tanks will be inspected regularly (at least quarterly) to ensure control measures are being implemented, tanks are in good condition and there are no spills or leaks. |  |
|  |  |  |  | Spills and/or leaks will be cleaned up immediately. Absorbent spill cleanup materials will be available in the immediate area. |  |
|  |  |  |  | Employees will be trained on proper fueling procedures to minimize exposure to stormwater. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-7 | Vehicle Crushing |  |  | The vehicle crushing area will be inspected regularly (at least quarterly). Leaks will be fixed or drip pans placed under vehicles/parts to prevent the leak(s) from impacting stormwater. |  |
|  |  |  |  | Storage of vehicles and parts in this area will be confined to designated areas at the facility to minimize contact of residual liquids and particulate matter with surface runoff. |  |
|  |  |  |  | Residual fluids, if any, will be promptly removed, segregated and transferred to appropriate containers that are labeled and in good condition to eliminate the potential for spills and leaks. |  |
|  |  |  |  | Surface water run-on and/or run-off will be diverted from this area utilizing grading, concrete pads and/or curbs, dikes or berms as required. Describe which is in use in this area and why. |  |
|  |  |  |  | Spills and/or leaks will be cleaned up immediately. Absorbent spill cleanup materials will be available in/near the immediate area. |  |
|  |  |  |  | Employees will be trained on proper crushing procedures in addition to proper fluid transfer, storage and disposal procedures to minimize exposure to stormwater. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-8 | Self Service (public pulls parts from vehicles) |  |  |  |  |
|  |  |  |  | Storage of vehicles and parts in this area will be confined to designated areas at the facility to minimize contact of residual liquids and particulate matter with surface runoff. |  |
|  |  |  |  | Residual fluids, if any, will be promptly removed, segregated and transferred to appropriate containers that are labeled and in good condition to eliminate the potential for spills and leaks. |  |
|  |  |  |  | Surface water run-on and/or run-off will be diverted from this area utilizing grading, concrete pads and/or curbs, dikes or berms as required. Describe which is in use in this area and why. |  |
|  |  |  |  | Spills and/or leaks will be cleaned up immediately. Absorbent spill cleanup materials will be available in/near the immediate area. |  |
|  |  |  |  | Employees will be trained on proper crushing procedures in addition to proper fluid transfer, storage and disposal procedures to minimize exposure to stormwater during crushing operations. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-9 | Materials and Fluids Removal & Storage |  |  | and Storage areas will be inspected regularly (at least quarterly) for spills and/or leaks to minimize the potential for impacting stormwater. |  |
|  |  |  |  | Materials and Fluids Removal will be confined to designated areas to minimize contact of residual liquids and other materials with surface runoff. |  |
|  |  |  |  | Materials Storage will be confined to designated areas to minimize contact of residual fluids (spills, leaks, material transfers) with surface runoff. |  |
|  |  |  |  | Vehicle fluids will be promptly removed, segregated and transferred to appropriate containers that are labeled and in good condition to eliminate the potential for spills and leaks. |  |
|  |  |  |  | Procedures are in place to ensure that liquid wastes (oil, grease, solvents), rags & wipes, batteries, spent coolant, degreasers and other materials are stored in materially compatible and non-leaking containers and are disposed of and/or recycled properly. |  |
|  |  |  |  | Good housekeeping practices will be utilized to prevent accumulation of trash, fluids and other debris in the materials recovery and storage area(s). |  |
|  |  |  |  | Oil filters will be drained prior to disposal and disposed of properly. |  |
|  |  |  |  | Spills and/or leaks will be cleaned up immediately. Absorbent spill cleanup materials will be available in and/or near the immediate Fluids Removal & storage areas. |  |
|  |  |  |  | Secondary containment will be utilized in the Materials and Fluids Removal and storage areas when feasible to minimize contact of residual fluids and other materials with surface runoff. |  |

| Area | Description |  | “√” | SWMP Control Measures | Date Implemented |
| --- | --- | --- | --- | --- | --- |
| DA-9 | Materials and Fluids Removal & Storage (continued) |  |  | Lead-acid and other batteries will be handled, stored and disposed of properly. |  |
|  |  |  |  | Lead-acid batteries will be removed from vehicles upon arrival (or as soon thereafter as feasible) at the facility. |  |
|  |  |  |  | Scrap lead-acid batteries are segregated from other scrap materials. |  |
|  |  |  |  | Store lead-acid batteries on racks off of the ground and in non-leaking secondary containers to reduce the potential for leaks or spills from cracked or broken batteries. (or stored in a covered area or, preferably, indoors) |  |
|  |  |  |  | Leaking lead-acid battery fluid is collected and disposed of properly. |  |
|  |  |  |  | Employee training will be provided for the proper management of scrap batteries. |  |

## 5.2	Good Housekeeping Practices

- The Stormwater Coordinator (or designated employee) will periodically (at least quarterly) inspect the facility for good housekeeping practices.  Documentation will be maintained with this SWMP.  An example of an Inspection & Monitoring Checklist that includes good housekeeping practices in included in Appendix B.

- Grounds at this facility will be properly maintained and kept as neat and orderly as possible to minimize the potential for pollutants to be present in stormwater discharge.  Good Housekeeping is critical in all areas of the facility.

- A schedule will be kept for regular pickup and disposal of waste materials, along with routine inspections for leaks and conditions of drums, tanks, containers and vehicles and/or equipment (at least quarterly).

## Spill Prevention and Response

5.3.1	List emergency response personnel and contact information for the facility in the spaces provided below:

EMERGENCY RESPONSE COORDINATOR(S)

| NAME: |  |
| --- | --- |
| TELEPHONE: |  |
| NAME: |  |
| TELEPHONE: |  |

OTHER EMERGENCY RESPONSE PERSONNEL

| NAME: |  |
| --- | --- |
| TELEPHONE: |  |
| NAME: |  |
| TELEPHONE: |  |

OTHER EMERGENCY RESPONSE CONTACTS

|  | CONTACT | INFORMATION | PHONE NUMBER |
| --- | --- | --- | --- |
| 1 | Emergency Response Coordinator | Facility Contact |  |
| 2 | Fire Department | Emergencies | 911 |
| 3 | Fire Department | Non-Emergencies |  |
| 4 | Sanitation District | Discharges |  |
| 5 | CDPHE Environmental Release and Incident Reporting Line | Releases | 1-877-518-5608 |
| 6 | National Response Center | 24-hour | 1-800-424-8802 |

    - Chemical storage areas and spill cleanup material locations will be included on the detailed site map in Appendix A.

    - Place a checkmark in the box next to the spill prevention and response procedures outlined below that apply to your facility.

| “√” | Spill Prevention And Response |
| --- | --- |
|  | General Procedures |
|  | Spill prevention and quick response in cleaning up spills and/or leaks is critical at this facility to prevent exposure of process materials to stormwater. |
|  | Chemicals (used oil, fuels, brake fluids, antifreeze, etc.) are stored in small quantities of 5 to 55 gallons. |
|  | Chemicals are stored inside in flammable and non- flammable cabinets when not in use. |
|  | Chemicals are stored in designated storage areas with signage marking the storage area location. |
|  | Chemicals are stored in covered compatible containers that are labeled and in good condition. |
|  | When hazardous waste is generated, it is handled, stored and labeled in accordance with applicable hazardous waste requirements. |
|  | All employees are familiar with spill prevention and response procedures specific to this facility. |
|  | Training will be conducted at least annually to help employees minimize spills and leaks and prepare employees for emergencies (refer to Section 5.5, Employee Training). |
|  | Spill cleanup absorbents and other materials appropriate for spills at this facility are available near chemical storage areas. |
|  | The locations of spill cleanup materials are marked on the detailed site map in Appendix A. |
| “√” | Emergency Spill Cleanup |
|  | Procedures - Small Chemical Releases1 |
|  | All spills are reported to the Emergency Coordinator (or other designated personnel). |
|  | All employees should be evacuated from the immediate release area (except for trained emergency response personnel). |
|  | Small releases must be properly contained and cleaned up by trained personnel using appropriate spill cleanup materials. |
|  | Appropriate personal protective equipment is used by emergency response personnel. |
|  | Spill socks or other materials are used to prevent spills/leaks from reaching the gutter flowing to stormwater inlet(s). |
|  | Spill cleanup materials are contained and disposed of properly. |

1A small chemical release is a release that you believe can be handled by trained in-house emergency response personnel.

| “√” | Emergency Spill Cleanup |
| --- | --- |
|  | Procedures - Large Chemical Releases2 |
|  | Call 911. Provide as much detail as possible on the identity of the spilled material, quantity and location of the release. |
|  | Alert the Emergency Coordinator (or other designated emergency response personnel). |
|  | All employees should be evacuated from the immediate release area. |
|  | Spills of any size that may impact waters of the state are reported to the Colorado Department of Public Health and Environment (CDPHE) immediately. |
|  | Spills that may impact a surface water intake must be reported to the Emergency Coordinator immediately after discovery. |
|  | This facility follows the spill reporting procedures outlined in CDPHE’s Spill Reporting Guidance (www.cdphe.state.co.us/hm/spillsandreleases.htm.) |

2A large chemical2 release is a release that you believe cannot be appropriately handled by trained in-house personnel and requires assistance from the authorities or other emergency response personnel.

## 5.4	Maintenance of Control Measures

- Measures to minimize stormwater impacts will be implemented to reduce the need for control measures whenever feasible.  Minimizing exposure prevents pollutants from coming into contact with stormwater.

- Measures to manage runoff will be implemented (diverting, containing) to reduce the need for control measures whenever feasible.  Managing runoff prevents stormwater contact with exposed materials or pollutant sources.

- The SWMP Coordinator (or a designated employee) will ensure that all stormwater control measures are kept in effective operating condition.

- Maintenance includes preventive and routine maintenance, modification, repair, replacement or installation of new control measures.

- Maintenance includes regular inspection and testing of facility equipment and operational systems that could cause breakdowns or failures that result in discharge of pollutants to storm sewers and surface waters.

- Observations resulting in maintenance activities can be made during a site inspection and/or during general observations of site conditions.

- The SWMP will be revised to reflect replacement or installation of new control measures in accordance with the stormwater permit and Section 9.0 of this SWMP.

## 5.5	Corrective Action

- Corrective Action(s) are steps that are taken at the facility to eliminate the cause of a problem or respond to an exceedance (of a sampling parameter) thus preventing reoccurrence.

- If violations of any permit conditions and/or exceedance(s) are discovered, control measures will be reviewed and selection, design, installation and implementation revised as necessary to ensure that the condition(s) is eliminated and will not be repeated in the future.

- The SWMP Coordinator (or a designated employee) will ensure that corrective action(s) are implemented as required by the stormwater permit and this SWMP.

- Corrective actions will be conducted with due diligence, as soon as possible after the need is discovered.

- Corrective actions (including interim control measures) associated with maintaining control measures will be documented in accordance with the permit.

- The SWMP will be modified to reflect any modifications and documented in accordance with Section 9.0 of this SWMP.

## Employee Training

An employee training program will be developed and implemented to educate employees about the requirements of this SWMP as applicable to the trainee’s activities.

- The following employees must be trained:

- Employee’s overseeing implementation of, revising and amending the SWMP.

- Employee’s performing installation, inspection, maintenance and repair of control measures.

- Employees who work in areas of industrial activity subject to this facility’s stormwater permit.

- Training will be conducted at least annually and address the following:

- Site-specific control measures used.

- Components and goals of the SWMP;

- Monitoring and inspection procedures;

- Good housekeeping;

- Proper materials handling (collection, storage and disposal) e.g., oil, rags/wipes, antifreeze,  batteries, paints and solvents.

- Proper disposal and control of waste;

- Container handling, storage and inspection procedures and;

- Spill prevention and response procedures.

- All new employees will be trained as part of their new hire orientation. Additionally, all employees will be required to participate in refresher training in the event there are amendments to the SWMP.

- The training program will be reviewed at least annually by the SWMP Coordinator (or a designated employee) to determine its effectiveness and to make necessary changes to the program.  An example of a training log is available in Appendix B of this SWMP.

5.7	Non-Storm Water Discharges

To be authorized to discharge stormwater under the stormwater permit, any sources of non-stormwater discharge must be identified in this SWMP.

- Evaluate all discharge conveyances (storm sewers, pipes, ditches, etc.) to determine whether liquids other than uncontaminated stormwater are being discharged.

- Evaluate sewer inlets and floor drains to determine which inlets/drains are connected to sanitary sewer lines and storm sewer lines.

- Discharge of non-stormwater (such as sanitary sewer or floor drain connection) to storm sewers is not authorized and may require a NPDES permit.

- Include the date of any observation of unauthorized non-stormwater discharge(s) and documentation that all unauthorized discharged, if any, have been eliminated.

- Describe any test or evaluation (e.g., dye testing, TV surveillance, visual observations of outfalls, etc.) conducted to detect such discharges, if any.

- Describe the results of those evaluations and corrective actions taken to prevent unauthorized discharges in the future.

- Non-stormwater discharges (if applicable) and corrective actions will be documented on an inspection report.  If personnel conducting an inspection find an illicit or non-stormwater discharge, the Non-stormwater Discharge Inspection Report (included in Appendix B) should be completed.

- Allowable non-stormwater discharges are listed in Section A.I. b. of the general permit No. COR900000 (e.g., clean condensate from air conditions, compressors, landscape watering).

# 6.	INSPECTIONS

- Periodically a walk-through of the facility and surrounding areas will be conducted to ensure compliance with the conditions outlined in the general permit and SWMP.

- Inspections will be conducted and documented at least quarterly.  Inspections must be conducted at least 20 days apart.

- A minimum of one (1) inspection will be conducted per calendar year during a runoff event (during or within 24 hours after the end of a measurable storm event or when a measurable discharge occurs).

- The SWMP Coordinator or other qualified personnel (as designated by the SWMP Coordinator) will conduct these inspections.

- The SWMP Coordinator (or other designated employee) will document the findings for each inspection and keep the record onsite with this SWMP.  An Inspection & Monitoring Checklist is available in Appendix B of this SWMP.

# 7.	MONITORING

## General Requirements

- The Stormwater Coordinator (or a designated employee) will be responsible for collecting samples and performing other monitoring procedures as required by the permit and this SWMP.

- The person(s) responsible for conducting monitoring will be documented on the appropriate monitoring checklist or log form.

- When more than one type of monitoring for the same parameter at the same outfall applies, a single sample will be used to satisfy both monitoring requirements.

- If the person(s) responsible for conducting the monitoring determines that two or more outfalls discharge substantially identical effluent (based on site features and activities within the area drained by the outfall), one sample may be taken and same results reported for each substantially identical outfall.

- If substantially identical outfalls are identified, rationale for these determinations must be outlined in this SWMP.

- Quarterly monitoring will be conducted at least once in each of the following

3-month intervals:

- January 1 – March 31

- April 1 – June 30

- July 1 – September 30

- October 1 – December 31

- A modification to the quarterly monitoring may be requested from the Water Quality Control Division (Stormwater).  A justification for this request must be documented with this SWMP.

## 7.2	Summary of Required Monitoring (Sampling)

7.2.1	Quarterly Visual Monitoring

- A sample will be collected at each stormwater outfall (except substantially identical outfalls) and observed for specific water quality characteristics.

- Water Quality Characteristics are outlined in the Section 7.3 of this SWMP.

- Results will be documented.  An Inspection & Monitoring Checklist and Quarterly Visual Monitoring Log are included in Appendix B.

7.2.2	Quarterly Benchmark Monitoring

- Sample(s) will be collected (samples collected in 7.2.1 above) and sent to a laboratory to be analyzed for sector-specific parameters.

- Sample results must comply with the sector-specific requirements outlined in Table M-1 of the permit (included in Appendix C of this SWMP) and documented in a quarterly report (DMR form).

7.2.3	Quarterly Impaired Waters Monitoring

- Samples at each outfall (except for substantially identical outfalls) must be analyzed for specific pollutants that are detected above natural background levels in impaired waters (if applicable) near the facility.

- Parameters for sampling will be included with this SWMP and documented in a quarterly report (DMR form).

7.2.4	Annual stormwater-specific effluent limitation guidelines (ELGs)

- ELG sampling requirements listed in Part I.A.1, Tables A-1 and A-2 of the general permit does not apply to this sector and are not included in this SWMP.

## Visual Monitoring - Details

- Once each quarter, a stormwater sample must be collected from each outfall (unless the outfalls are determined to be substantially identical) and a visual assessment made of each of these samples.

- Visual assessments will be rotated between each substantially identical outfall, if applicable.

- The samples must be representative of the stormwater discharge.

- The sample will be collected in a clean, clear glass or plastic container and inspected for the presence of the following water quality characteristics:

- Color					6.  Settled solids

- Odor	7.  Foam

- Clarity	8.  Oil Sheen

- Floating solids	9.  Other obvious indicators of stormwater

- Suspended solids	pollution.

- Results of visual monitoring will be kept onsite with this SWMP.  An Inspection & Monitoring checklist and Quarterly Visual Monitoring Log are included in Appendix B.

- Any corrective action required as a result of the visual assessment must be performed consistent with the permit and Sections 5.5 and 8.2 of this SWMP.

## 7.4	Benchmark Monitoring - Details

- Benchmark monitoring will be conducted quarterly for the first (4) full quarters of permit coverage.

- Benchmark monitoring will be conducted based on the primary industrial activity (SIC) at the facility (includes any co-located industrial activities) as determined in Section 3.1 of this SWMP.  Refer to Appendix C for sector-specific requirements and benchmark values.

| Description | SIC | Sector | Appendix C |
| --- | --- | --- | --- |
| Automobile Salvage Yards (dismantling to sell parts) | 5015 | M | M-1 |

- Benchmark grab samples will be collected at each benchmark sampling location (outfalls) as indicated in Appendix C, Sampling Locations and Outfalls, and on the detailed site map in Appendix A of this SWMP.

- After collecting four (4) benchmark samples, if the average of the monitoring values for any parameter does not exceed the benchmark, a reduction in benchmark monitoring frequency may be requested for that parameter (to once per year) provided that (8) samples are collected every five years.

- Average concentrations will be calculated in accordance with the requirements of Part I.H.7.g of the general permit.

- If the averaged monitoring values for any parameter exceeds the benchmark, control measure(s) will be reviewed (and modified as necessary) to maintain the applicable benchmark concentration for each parameter.

- If control measure(s) are modified, quarterly monitoring must be continued for four (4) additional quarters.

- If the average of the monitoring values for any parameter does not exceed the benchmark, monitoring may be conducted once per year as described above.

- If the average of the monitoring values for any parameter still exceeds the benchmark, corrective actions must once again be made in accordance with 7.2.f. and 7.2.h. and specific monitoring requirements outlined in the General Permit, Part I, Section I.2.

## 7.5	Water Quality Standards Monitoring (Impaired Waters) - Details

- Compliance with the conditions in the permit and this SWMP will control discharges to meet applicable water quality standards.

- Monitoring will be conducted once per quarter at each outfall (except substantially identical outfalls) discharging stormwater to impaired waters (waters identified as not meeting applicable State water quality standards).

- If at any time, it is determined that an authorized discharge causes or contributes to an exceedance of applicable water quality standards, corrective action(s) will be taken.

- If after one year of monitoring (4 samples), a pollutant is not detected above the applicable water quality standard in any sample, a modification to the Water Quality Standards Monitoring may be requested.

## Additional Monitoring

  - If additional discharge monitoring will be required, the WQCD will notify this facility.

  - Revisions to this SWMP may be required.

## Sampling and Analytical Requirements

- The Stormwater Management Coordinator (or a designated employee) will be responsible for stormwater sampling according to methods in 40 CFR Part 136 or other methods approved by the WQCD.

- 40 CFR Part 136 and amendments are available online at http://water.epa.gov/scitech/methods/cwa/update_index.cfm.

- Grab samples will be used for monitoring.

- A minimum of one grab sample will be taken from a discharge resulting from a measurable storm event.

- All discharges samples will be taken during the same storm event if feasible.

- Grab samples will be collected within the first 30 minutes of a measureable storm event (or as soon as practicable after the first 30 minutes).

- If the grab samples are not collected within the first 30 minutes of a measureable storm event, documentation with an explanation must be kept with this SWMP.

- If samples are taken from snowmelt, they must be taken during a period with measurable discharge.

- Analytical requirements will be performed in accordance with Part I.H. of the general permit.

- Analytical methods and procedures for each type of monitoring will be included in documentation retained with this SWMP.

# RECORDKEEPING AND REPORTING REQUIREMENTS

## 8.1	Routine Reporting – DMR form

- Monitoring results will be summarized for each calendar quarter and reported on a Division-approved Discharge Monitoring Report (DMR) form in accordance with the General Permit, Part I.K., Reporting and Recordkeeping.

- The DMR form (EPA form 3320-1) for reporting is available online at www.epa.gov/region6/6en/w/dmr.htm.

- The signed copy of each DMR will be submitted to the WQCD at the address below:

Colorado Department of Public Health and Environment

Water Quality Control Division

WQCD-P-B2

4300 Cherry Creek Drive South

Denver, CO  80246-1530

## 8.2	Corrective Action Reporting

a.	Discovery of any conditions requiring corrective action (conditions listed in Part I.J.1. and I.J.2. of the general permit) will be documented as follows:

1.	Within 24 hours:

- Identify the condition triggering the need for corrective action;

- Description of the problem identified;

- Date the problem was identified.

- Within Five (5) days

- Summarize the corrective action(s) taken or to be taken;

- Notice of whether SWMP modifications are necessary and the basis for this determination;

- Date corrective action is initiated;

- Date corrective action has been completed or is expected to be completed.

b.	A copy of all Corrective Action Reports will be kept with the facility SWMP.  The Inspection & Monitoring Checklist (in Appendix B) includes corrective action reporting.  Another corrective action reporting form may be used.

c.	The information in the Corrective Action Report(s) will be submitted in an annual report.

## 8.3	Notifications

  - Notification requirements will be performed in accordance with Part II.A. of the general permit.

  - Advance notice will be given to the WQCD of any planned changes in the permitted facility or activity which may result in noncompliance with the permit and/or SWMP requirements.

## 8.4	Annual Report

- An annual report will be submitted to the WQCD for the reporting period January 1 through December 31.

- Annual reports must be received by the WQCD by March 31 of the following year.  An example of an Annual Reporting form is available in Appendix B of this SWMP.

- The signed copy of each annual report must be submitted to the Division at the following address.  A copy must be kept with this SWMP.

Attn:  Annual Report

Colorado Department of Public Health and Environment

Water Quality Control Division

SQCD-P-B2

4300 Cherry Creek Drive South

Denver, CO  80246-1530

## Record Retention

- All stormwater records must be kept for at least 3 years from the date that coverage under the permit expires or is terminated.

- Records include, but are not limited to:  copies of the facility SWMP, modifications (during the term of the permit) to the SWMP, corrective actions, reports, certifications, monitoring data, analyses, documentation on natural background pollutant levels and application materials.

- Records will be available for inspection upon request.

# PROVISIONS FOR AMENDMENT OF THE PLAN

- If the facility expands, experiences any significant production increase or process modifications, or changes any significant material handling or storage practices which could impact stormwater, the SWMP will be amended appropriately.

- The amended SWMP will have a description of the new activities that contribute to increased or decreased pollutant loading and planned source control measures.

- The SWMP will also be amended if local, state or federal authorities determine that it is ineffective in controlling storm water pollutants discharged to waters of the state.  A SWMP amendment log is included in Appendix C of this SWMP.

# CORPORATE CERTIFICATION

I certify under penalty of the law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

__________________________________________

Name

__________________________________________

Title

_____________________________

Date

## APPENDIX A - AREA & SITE MAPS

FIGURE 1

Site Location Map (e.g., Google Maps)

FIGURE 2

Aerial Site Map (Google Earth)

FIGURE 3

Detailed Site Map

## APPENDIX B - TRAINING & INSPECTION LOGS

| Spill and Leak Record |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Inspector | Description of Cause | Response | Corrective Action/Schedule |

STORMWATER MANAGEMENT TRAINING LOG

The following Stormwater Management Training has been presented to the undersigned employees. By their signature, these employees do affirm that the Stormwater Management training was presented to them and they understand the material given during the training session.

Date:  _________________________

| PRINT NAME | SIGNATURE |
| --- | --- |

Supervisor’s signature: ______________________________

| Stormwater Management Training will address the following: |  |
| --- | --- |
| - Components and goals of the SWMP; | - Proper materials handling procedures (collection, storage and disposal); |
| - Site-specific control measures used to achieve discharge concentrations and minimize stormwater impacts; | - Proper disposal and control of waste; |
| - Monitoring and inspection procedures; | - Container handling, storage and inspection procedures; |
| - Good Housekeeping; | - Spill prevention and response procedures. |

INSPECTION & MONITORING CHECKLIST

Date _____________________  		Inspected by _____________________________

(Name and Title)

Time ______________			          Weather Conditions ________________________

| “√” | Quarterly Inspections | Area | Observations | Corrective Action |
| --- | --- | --- | --- | --- |
|  | Observe1 stormwater sampling locations |  |  |  |
|  | Observe areas where stormwater associated with industrial activity is discharged off-site |  |  |  |
|  | Observe the condition of and around stormwater outfalls |  |  |  |
|  | Observe for the presence of illicit discharges or other non-permitted discharges. |  |  |  |
|  | Verify that the descriptions of potential pollutant sources required under this permit is accurate |  |  |  |
|  | Verify that the site maps in the SWMP reflects current conditions |  |  |  |
|  | Assess2 control measures used in the SWMP |  |  |  |

1Observation of discharges include:  condition, flow, color, odor, turbidity, sheen, foam, floating solids, signs of leakage and/or spills, etc.

2Assessment of control measures include:  effectiveness, locations that need maintenance or repair, reason maintenance or repair is needed, schedule for maintenance or repair, locations where additional or different control measures are needed and why.

INSPECTION & MONITORING CHECKLIST

| “√” | Good Housekeeping | Area | Observations | Corrective Action |
| --- | --- | --- | --- | --- |
|  | Outside areas are kept neat and orderly and minimize stormwater run-on and run-off |  |  |  |
|  | Garbage and debris are removed and disposed of regularly |  |  |  |
|  | Dumpsters are checked regularly to ensure they are in good condition and lids are kept closed to protect the contents from stormwater impacts |  |  |  |
|  | Discharge of waste, garbage and floatable debris from the site are minimized |  |  |  |
|  | Locations where spill cleanup materials are stored are appropriately marked |  |  |  |
|  | Chemical storage areas are kept neat and clean |  |  |  |
|  | Chemical storage containers are in good condition |  |  |  |
|  | Equipment and machinery are inspected regularly for leaks |  |  |  |
|  | Used oil is removed on a regular basis (preferably recycled) |  |  |  |
|  | Lead-acid batteries are removed on a regular basis (preferably reclaimed) |  |  |  |
|  | Used antifreeze that is not reused is collected and removed on a regular basis (preferably recycled) |  |  |  |

INSPECTION & MONITORING CHECKLIST

| “√” | Good Housekeeping | Area | Observations | Corrective Action |
| --- | --- | --- | --- | --- |
|  | Gasoline or diesel that is not reused is removed on a regular basis? |  |  |  |
|  | Complete vehicles are inspected regularly for leaks? |  |  |  |
|  | Customer parking area is inspected and cleaned on a regular basis? |  |  |  |
|  | Other (describe): |  |  |  |
|  | Complete vehicles are inspected regularly for leaks? |  |  |  |
|  | Other: |  |  |  |
|  | Quarterly Monitoring (Sampling) |  |  |  |
|  | Visual Monitoring |  |  |  |
|  | Collect a sample at each outfall and make a visual assessment of each sample for the presence of certain water quality characteristics3 |  |  |  |
|  | Benchmark Monitoring |  |  |  |
|  | Collect a sample at each outfall and have them analyzed to determine if they exceed certain benchmark concentrations. |  |  |  |
|  | Water Quality Standards Monitoring |  |  |  |
|  | Collect a sample at each outfall that discharges to impaired waters of the state and have them analyzed to determine if they exceed applicable water quality standards. |  |  |  |

3Water quality characteristics include:  color, odor, clarity, floating solids, suspended solids, settled solids, foam, oil sheen and other obvious indicators of stormwater pollution.

Quarterly Visual Monitoring Log

| Date | Time | Sample Location | Nature of Discharge (runoff or snowmelt) | Observations1 | Corrective Action(s)2 |
| --- | --- | --- | --- | --- | --- |
| I certify that this report is true, accurate and complete to the best of my knowledge and belief: Sampled/inspected by: ___________________________ ________________________ __________________________________ (Name) (Title) (Signature) 1Observations include: color, odor, clarity, sheen, foam, settled solids, suspended solids, floating solids, etc. List probable sources of observed contamination. 2Samples must be taken within the first 30 minutes of discharge; include explanation of why this was not possible, if applicable. |  |  |  |  |  |

| Non-Stormwater Discharge Inspection Report |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Date | Time | Test/Evaluation1 | Non-Stormwater Discharge Observed? (Yes or No) | Results | Corrective Action |
| 1Dye test, TV Surveillance, Visual Observations of outfalls, etc. I certify that this report is true, accurate and complete to the best of my knowledge and belief: Inspected by: ______________________________ _________________________ __________________________________ (Name) Title Signature |  |  |  |  |  |

Need template for annual report

## APPENDIX C - BENCHMARK MONITORING & SAMPLING LOCATIONS

Sampling Locations and Outfalls

| Area | Sampling Locations | Outfall Locations |
| --- | --- | --- |

Benchmark Monitoring Parameters for Sector M – Automobile Salvage Yards

(SIC 5015)

M-1

1The WQCD will not require hardness data.  Where a site-specific benchmark is necessary, a hardness maximum of 400 mg/L for hardness dependent parameters will be used consistent with 5 CCR 1002-31 (Regulation No. 31).

| Parameter | Benchmark Monitoring Concentration (mg/L) |  | Water Hardness Range (mg/L) | Lead (mg/L) |
| --- | --- | --- | --- | --- |
| Total Suspended Solids (TSS) | 100 |  | Max 400 | 0.262 |
| Total Aluminum | 0.75 |  |  |  |
| Total Iron | 1.0 |  |  |  |
| Total Lead1 | 0.262 |  |  |  |

- Additional SWMP requirements for Sector M have been addressed within this SWMP.

RECORD OF AMENDMENTS -

STORMWATER MANAGEMENT PLAN

| DATE | AMENDMENT NO. | SECTION NO. | PERSON MAKING AMENDMENT(S) | DESCRIPTION OF AMENDMENT(S) |
| --- | --- | --- | --- | --- |
| 5/30/2012 | Rev 1 | All | Joni Canterbury, SBAP | Original draft of SWMP |